## Disposible-Drugs NSN List
COMBAT MEDICAL CONSUMABLES — NSN REFERENCE LIST
Black Space Technology Ltd ¦ Arctic Edge 2027 MASCAL Exercise ¦ Source: CoTCCC Recommended Devices (Sep 2021), TC 8-800, TCCC CMC Equipment List
Cat # | CATEGORY | ITEM / DESCRIPTION | NSN | UNIT | Combat Medic | Role 1 (BAS) | Role 2 (FSE) | Role 2+ (E-FST) | FST | Role 3 (CSH) | NOTES / SPECIFICATION | CoTCCC Ref | FSC
── Tourniquets ──
A1 | Tourniquets | Combat Application Tourniquet (CAT) Gen 7 — Black | 6515-01-521-7976 | ea | 4 | 6 | 12 | 20 | 20 | 50 | CoTCCC Primary. Official US Army tourniquet. One-handed windlass, 37.5". NSN for black colour. | YES | 6515
A2 | Tourniquets | Combat Application Tourniquet (CAT) Gen 7 — Orange (MCI/visible) | 6515-01-612-7129 | ea | – | 4 | 8 | 10 | 10 | 30 | High-visibility for mass casualty events. Same mechanism as black. | YES | 6515
A3 | Tourniquets | SOFTT-W (SOF Tactical Tourniquet Wide) | 6515-01-587-9943 | ea | 2 | 4 | 6 | 10 | 10 | 20 | CoTCCC alternative. 1.5" wide nylon. Popular with SOF. | YES | 6515
A4 | Tourniquets | SAM Extremity Tourniquet (SAM-XT) | 6515-01-670-2240 | ea | – | – | 4 | 6 | 6 | 10 | CoTCCC approved ratchet-style tourniquet. | YES | 6515
A5 | Tourniquets | TX2 Tourniquet — Ratchet, Coyote | 6515-01-667-6027 | ea | – | – | 4 | 4 | 4 | 10 | CoTCCC approved alternative ratchet TQ. | YES | 6515
A6 | Tourniquets | CAT Trainer Blue (training use only, not field-deployable) | 6910-01-560-2972 | ea | 2 | 4 | 6 | 6 | 6 | 10 | Training/sustainment only. DO NOT deploy operationally. | YES | 6910
A7 | Tourniquets | Emergency Medical Tourniquet (EMT) — Pneumatic | 6515-01-580-1645 | ea | – | 2 | 4 | 4 | 4 | 8 | CoTCCC pneumatic TQ. Single-hand, fits upper & lower limb. | YES | 6515
── Junctional Devices ──
A8 | Junctional TQ | SAM Junctional Tourniquet (SAM-JT) | 6515-01-618-7475 | kit | – | 1 | 2 | 4 | 4 | 6 | CoTCCC. Inflatable junctional compression kit, 6-piece. | YES | 6515
A9 | Junctional TQ | Combat Ready Clamp (CRoC) | 6515-01-589-9135 | ea | – | 1 | 2 | 2 | 2 | 4 | CoTCCC junctional device. Expandable aluminium clamp. | YES | 6515
A10 | Junctional TQ | JETT (Junctional Emergency Treatment Tool) | 6515-01-616-5841 | ea | – | 1 | 2 | 2 | 2 | 4 | Inguinal haemorrhage control, adjustable. | YES | 6515
A11 | Junctional TQ | AAJT-S (Abdominal Aortic & Junctional TQ Stabilizer) | 6515-01-638-9222 | ea | – | – | 1 | 2 | 2 | 4 | For abdominal and high junctional bleeds. | YES | 6515
A12 | Wound Closure | iTClamp Haemorrhage Control Clamp (sterile polycarbonate) | 6515-01-629-7044 | ea | 2 | 4 | 8 | 10 | 10 | 20 | CoTCCC. Temporary wound edge closure/compression device. | YES | 6515
A13 | Wound Closure | X-STAT 30 Haemostatic Sponge Applicator (30mm, large) | 6510-01-644-7335 | ea | 1 | 2 | 4 | 6 | 6 | 10 | CoTCCC. Haemostatic sponge for junctional/deep cavities. | YES | 6510
── Haemostatic Dressings ──
A14 | Haemostatic Dressings | QuikClot Combat Gauze Z-Fold 3"×4yd (Kaolin) | 6510-01-562-3325 | ea | 4 | 8 | 16 | 24 | 24 | 50 | CoTCCC Primary. DoD standard since 2008. Kaolin Factor XII activation. | YES | 6510
A15 | Haemostatic Dressings | QuikClot Combat Gauze XL 4"×4yd 2-ply (Kaolin, large wounds) | 6510-01-600-4705 | ea | 2 | 4 | 8 | 12 | 12 | 24 | CoTCCC. Double-width/ply for large cavities and junctional bleeds. | YES | 6510
A16 | Haemostatic Dressings | ChitoGauze 3"×144" Chitosan Z-fold | 6510-01-591-7740 | ea | 2 | 4 | 8 | 10 | 10 | 20 | CoTCCC alternative. Chitosan preferred for anticoagulated/hypothermic pts. | YES | 6510
A17 | Haemostatic Dressings | Celox Gauze Z-fold 3"×5' | 6510-01-623-9910 | ea | 2 | 4 | 6 | 8 | 8 | 16 | CoTCCC alternative haemostatic gauze. | YES | 6510
── Pressure Dressings & Bandages ──
A18 | Pressure Dressings | Emergency Bandage (Israeli Bandage) 4" | 6510-01-492-2275 | ea | 4 | 8 | 16 | 20 | 20 | 40 | Standard pressure bandage. Integrated closure bar. | – | 6510
A19 | Pressure Dressings | Emergency Bandage (Israeli Bandage) 6" | 6510-01-503-2117 | ea | 2 | 4 | 8 | 12 | 12 | 24 | Larger format for abdominal/thoracic wounds. | – | 6510
A20 | Pressure Dressings | Kerlix Gauze Roll 4.5" | 6510-01-503-2117 | roll | 4 | 8 | 16 | 20 | 20 | 40 | Sterile gauze rolls for wound packing and secondary dressings. | – | 6510
A21 | Pressure Dressings | Compressed Gauze (NAR) 4.5"×4.1yd 6-ply cotton | 6510-01-532-3643 | ea | 4 | 8 | 12 | 16 | 16 | 30 | Compact, high-absorption gauze for wound packing. | – | 6510
A22 | Pressure Dressings | Triangular Bandage / Cravat Muslin 37"×37"×52" | 6510-01-703-1966 | ea | 4 | 6 | 12 | 16 | 16 | 30 | Sling, improvised TQ, dressing cover. | – | 6510
A23 | Pressure Dressings | Adhesive Tape Surgical 2" × 10yd porous | 6510-00-926-8883 | roll | 2 | 4 | 8 | 10 | 10 | 20 | Used to secure dressings, NPA, chest seals. | – | 6510
A24 | Pressure Dressings | Elastic Bandage 4" (Ace wrap) | 6510-01-460-0849 | ea | 4 | 6 | 12 | 16 | 16 | 30 | Compression dressing. Fracture/splint securing. | – | 6510
A25 | Wound Management | Abdominal Dressing (ABD Pad) 5"×9" sterile | 6510-00-201-3022 | ea | 2 | 4 | 8 | 12 | 12 | 24 | Large wound pad. Sterile abdominal pad. | – | 6510
A26 | Wound Management | SAM Splint / Malleable Aluminium Splint 18" | 6515-01-449-0150 | ea | 2 | 4 | 6 | 8 | 8 | 16 | Lightweight SAM splint for fracture immobilisation. | – | 6515
A27 | Wound Management | Rigid Eye Shield (Fox shield) | 6515-01-532-0296 | ea | 2 | 4 | 6 | 8 | 8 | 16 | Rigid eye shield for eye injuries. TC 8-800 standard. | – | 6515
A28 | PPE | Nitrile Exam Gloves (box 100) | 6515-01-519-9161 | box | 1 | 4 | 8 | 10 | 10 | 20 | Patient exam gloves. Box of 100. Non-latex. | – | 6515
A29 | PPE | Trauma Shears / EMT Scissors 7.25" | 6515-01-502-7636 | ea | 1 | 2 | 4 | 6 | 6 | 10 | Trauma shears for cutting clothing/equipment. | – | 6515
── Airway Adjuncts ──
B1 | Airway | Nasopharyngeal Airway (NPA) 28Fr with lubricant | 6515-01-180-0467 | ea | 2 | 4 | 8 | 10 | 10 | 20 | Primary pre-hospital airway adjunct per TCCC. 28Fr standard adult. | YES | 6515
B2 | Airway | Nasopharyngeal Airway (NPA) — Multi-Size Kit (24Fr–36Fr) | 6515-01-519-2325 | kit | – | 1 | 2 | 4 | 4 | 6 | Kit with multiple sizes 24, 28, 32, 36Fr. | YES | 6515
B3 | Airway | I-Gel Extraglottic Airway Size 4 (Medium Adult) | 6515-01-669-8680 | ea | – | 1 | 2 | 4 | 4 | 8 | CoTCCC supraglottic airway. Single-use. | YES | 6515
B4 | Airway | I-Gel Extraglottic Airway Size 5 (Large Adult >90kg) | 6515-01-669-8725 | ea | – | 1 | 2 | 4 | 4 | 8 | CoTCCC supraglottic airway large size. | YES | 6515
B5 | Airway | Surgical Cricothyrotomy Kit — CricKey / Control-Cric | 6515-01-640-6701 | ea | 1 | 2 | 4 | 6 | 6 | 10 | CoTCCC. Surgical airway as last resort. Verifies tracheal placement. | YES | 6515
B6 | Airway | Bag-Valve Mask (BVM) Adult | 6515-01-502-8218 | ea | 1 | 2 | 4 | 6 | 6 | 10 | BVM for ventilation. Required at medic level and above. | – | 6515
B7 | Airway | Water-based lubricant jelly sachets (NPA lubrication) | 6510-00-201-0363 | box | 1 | 2 | 4 | 6 | 6 | 10 | Sterile lubricant for NPA insertion. | – | 6510
── Chest Seals ──
C1 | Chest Seals | HyFin Vent Chest Seal (individual/single) | 6515-01-532-8019 | ea | 4 | 8 | 16 | 20 | 20 | 40 | Vented chest seal. Two required per patient (entry/exit). Standard TCCC. | YES | 6515
C2 | Chest Seals | HyFin Vent Compact Chest Seal Twin Pack | 6515-01-636-9862 | pack | 2 | 4 | 8 | 12 | 12 | 24 | Twin-pack — 2 vented seals per pack. Compact format for IFAK. | YES | 6515
C3 | Chest Seals | HyFin Chest Seal Combo Pack (1 vented + 1 non-vented) | 6515-01-554-3918 | pack | – | 2 | 4 | 6 | 6 | 12 | Combination pack. Non-vented for sucking chest wounds without tension. | – | 6515
C4 | Needle Decompression | ARS Needle Decompression Kit 14g × 3.25" (chest decompression) | 6515-01-541-0635 | ea | 2 | 4 | 8 | 12 | 12 | 24 | Needle thoracocentesis for tension pneumothorax. 14g preferred military std. | YES | 6515
C5 | Needle Decompression | Large-Bore Needle Decompression 10g × 3.25" (obese/muscular) | 6515-01-587-4651 | ea | – | 2 | 4 | 6 | 6 | 10 | 10g for patients where 14g may not reach pleural space. | YES | 6515
── IV / IO Access ──
D1 | IV Access | IV Catheter 18g × 1.25" (general IV access, IFAK) | 6515-01-337-3681 | ea | 4 | 8 | 16 | 20 | 20 | 40 | Standard IV catheter. 18g primary for field IV access. | – | 6515
D2 | IV Access | IV Catheter 16g × 1.25" (faster fluid delivery) | 6515-01-336-5874 | ea | 2 | 4 | 8 | 10 | 10 | 20 | Larger bore for rapid fluid resuscitation. | – | 6515
D3 | IV Access | IV Catheter 14g × 1.75" (rapid infusion / decompression) | 6515-01-517-5264 | ea | 2 | 4 | 6 | 8 | 8 | 16 | Large bore for rapid infusion. Also doubles as decompression needle. | – | 6515
D4 | IV Access | IV Administration Set (60-drop, standard) | 6515-01-450-2077 | ea | 2 | 4 | 8 | 12 | 12 | 24 | Standard IV drip set. 60 drops/mL. | – | 6515
D5 | IV Access | Saline Lock / PRN Adapter | 6515-01-356-5764 | ea | 4 | 8 | 16 | 20 | 20 | 40 | Saline lock for IV maintenance without continuous drip. | – | 6515
D6 | IO Access | EZ-IO Intraosseous Needle 25mm (Adult, >38kg) | 6515-01-537-9007 | ea | 2 | 4 | 6 | 8 | 8 | 16 | IO access device — adult proximal tibia. Arrow EZ-IO system. | YES | 6515
D7 | IO Access | EZ-IO Intraosseous Needle 45mm (Long/Obese LD) | 6515-01-577-0312 | ea | 1 | 2 | 4 | 6 | 6 | 10 | Extended length for excess tissue over insertion site. | YES | 6515
D8 | IO Access | EZ-IO Intraosseous Needle 15mm (Paediatric 3–39kg) | 6515-01-623-5963 | ea | – | 1 | 2 | 4 | 4 | 6 | Paediatric IO needle. | YES | 6515
D9 | IO Access | EZ-IO Sternal Intraosseous Device (FAST-1 sternal) | 6515-01-559-7489 | ea | – | 1 | 2 | 2 | 2 | 4 | Sternal IO for rapid central access in extremity-injured pts. | YES | 6515
D10 | IO Access | IO Intraosseous Infusion System (haemorrhagic shock) | 6515-01-536-9363 | ea | 2 | 2 | 4 | 4 | 4 | 8 | Alternative IO system — haemorrhagic shock treatment kit. | YES | 6515
D11 | IO Access | IO Extension Set / Flush syringe | 6515-01-450-2077 | ea | 2 | 4 | 6 | 8 | 8 | 16 | Extension tubing for IO device to IV tubing connection. | – | 6515
D12 | Syringes | Syringe 10mL Luer-lock (no needle) | 6515-01-356-8511 | ea | 4 | 8 | 16 | 20 | 20 | 40 | General-purpose 10mL syringe. | – | 6515
D13 | Syringes | Syringe 5mL Luer-lock | 6515-01-356-5763 | ea | 4 | 8 | 12 | 16 | 16 | 30 | 5mL syringe for medications and flushes. | – | 6515
D14 | Syringes | Syringe 60mL Luer-slip (irrigation/lavage) | 6515-01-356-8510 | ea | – | 2 | 4 | 6 | 6 | 12 | Large syringe for wound irrigation. | – | 6515
D15 | Syringes | Hypodermic Needle 22g × 1" (deltoid IM injections) | 6515-01-517-6244 | box | 1 | 2 | 4 | 4 | 4 | 8 | 22g for IM medication delivery. | – | 6515
D16 | Syringes | Hypodermic Needle 22g × 1.5" (thigh/gluteal IM) | 6515-01-519-4244 | box | 1 | 2 | 4 | 4 | 4 | 8 | Longer needle for deep IM injection. | – | 6515
D17 | IV Fluids | 0.9% Sodium Chloride (Normal Saline) IV 1000mL | 6505-01-595-5160 | bag | 2 | 8 | 20 | 30 | 30 | 60 | Primary IV fluid. FSC 6505 Pharmaceuticals. | – | 6505
D18 | IV Fluids | Lactated Ringer's Solution IV 1000mL | 6505-01-595-5161 | bag | 2 | 8 | 20 | 30 | 30 | 60 | Balanced crystalloid. TCCC preferred for haemorrhagic shock resuscitation. | – | 6505
D19 | IV Fluids | Hetastarch (Hextend) 500mL IV Colloid | 6505-01-403-3100 | bag | – | 2 | 6 | 10 | 10 | 20 | Colloid plasma expander. Used in haemorrhagic shock where blood unavailable. | – | 6505
D20 | IV Fluids | Normal Saline 100mL IV Minibag (TXA/medication diluent) | 6505-01-595-5162 | bag | 2 | 4 | 8 | 10 | 10 | 20 | 100mL bag for TXA and medication infusions. | – | 6505
── Analgesia ──
E1 | Medications | Tranexamic Acid (TXA) 1g/10mL vial | 6505-01-660-1890 | vial | 2 | 4 | 8 | 12 | 12 | 24 | CoTCCC — give within 3hr of injury. 2g dose in 100mL NS slow push. | YES | 6505
E2 | Medications | Morphine Sulfate 10mg/mL auto-injector (Syrette) | 6505-00-010-6004 | ea | 2 | 4 | 8 | 10 | 10 | 20 | Opioid analgesia. Auto-injector format for field use. | YES | 6505
E3 | Medications | Ketamine 500mg/10mL vial (dissociative analgesic) | 6505-01-358-6124 | vial | – | 2 | 4 | 6 | 6 | 12 | Preferred combat analgesic. Haemodynamically stable. IV/IO/IM/IN. | YES | 6505
E4 | Medications | Fentanyl 100mcg Oral Transmucosal (OTFC lozenge) | 6505-01-319-3063 | ea | 2 | 4 | 6 | 8 | 8 | 16 | OTFC lollipop — conscious pt analgesia with vascular access unavailable. | YES | 6505
E5 | Medications | Acetaminophen 500mg tablets (mild/moderate pain) | 6505-01-356-9527 | tab | 20 | 40 | 80 | 100 | 100 | 200 | Non-opioid analgesic. Combat Wound Medication Pack component. | YES | 6505
E6 | Medications | Meloxicam 15mg tablet (NSAID — non-injectable analgesic) | 6505-01-606-7929 | tab | 10 | 20 | 40 | 60 | 60 | 100 | NSAID analgesia when morphine/ketamine contraindicated. | YES | 6505
E7 | Medications | Ondansetron (Zofran) 4mg ODT (anti-emetic) | 6505-01-461-9234 | tab | 10 | 20 | 40 | 60 | 60 | 100 | Anti-emetic for opioid-induced nausea. Orally dissolving tablet. | – | 6505
── Antibiotics ──
E8 | Medications | Moxifloxacin 400mg tablet (oral antibiotic, battlefield wound) | 6505-01-470-0743 | tab | 6 | 12 | 24 | 30 | 30 | 60 | TCCC oral antibiotic for wounds. Combat Wound Medication Pack. | YES | 6505
E9 | Medications | Ertapenem 1g vial (IV antibiotic — penetrating abdominal) | 6505-01-433-5195 | vial | – | 2 | 6 | 8 | 8 | 16 | IV beta-lactam. Used when oral route unavailable or abdominal wound. | YES | 6505
E10 | Medications | Cefazolin 1g vial (surgical prophylaxis) | 6505-01-357-8527 | vial | – | – | 8 | 12 | 12 | 30 | Pre-operative surgical antibiotic prophylaxis. | – | 6505
E11 | Medications | Amoxicillin-Clavulanate (Augmentin) 875/125mg tablets | 6505-01-396-8177 | tab | – | 10 | 20 | 30 | 30 | 60 | Broad-spectrum oral antibiotic for contaminated wounds. | – | 6505
── Haemostatic / Cardiac ──
E12 | Medications | Epinephrine 1mg/mL auto-injector (Epi-Pen, anaphylaxis) | 6505-01-380-2328 | ea | 2 | 4 | 6 | 8 | 8 | 16 | Anaphylaxis treatment. Also cardiac arrest adjunct. | – | 6505
E13 | Medications | Atropine 0.6mg/mL auto-injector (nerve agent/bradycardia) | 6505-01-327-1243 | ea | – | 2 | 4 | 6 | 6 | 12 | CBRN nerve agent antidote. Also bradyarrhythmia. | – | 6505
E14 | Medications | Pralidoxime Chloride 600mg auto-injector (2-PAM nerve agent) | 6505-01-327-1245 | ea | – | 2 | 4 | 6 | 6 | 12 | Nerve agent oxime. Paired with Atropine. CBRN. | – | 6505
E15 | Medications | Naloxone (Narcan) 0.4mg/mL vial (opioid reversal) | 6505-01-306-7384 | vial | 2 | 4 | 6 | 8 | 8 | 16 | Opioid reversal agent. CoTCCC recommended. | YES | 6505
E16 | Medications | Diphenhydramine (Benadryl) 50mg IM vial (allergy/anaphylaxis) | 6505-01-062-5884 | vial | – | 2 | 4 | 6 | 6 | 10 | Antihistamine for allergic reactions. | – | 6505
E17 | Medications | Dextrose 50% IV (D50) 50mL syringe (hypoglycaemia) | 6505-01-359-9084 | ea | – | 2 | 4 | 6 | 6 | 12 | Treatment of hypoglycaemia in trauma casualties. | – | 6505
── Blood & Plasma ──
F1 | Blood Products | Group O Low-Titer Whole Blood Collection Set (450–500mL) | 6515-01-128-1407 | kit | – | – | 4 | 6 | 6 | 12 | Walking blood bank collection. Includes tubing, anticoagulant, label. | YES | 6515
F2 | Blood Products | Blood Recipient Set Y-Type (administration set) | 6515-01-128-1407 | ea | – | – | 4 | 6 | 6 | 12 | Y-type blood administration set for transfusion. | – | 6515
F3 | Blood Products | Chest Med Instrument & Supply Kit No. 5 / Blood Chest Pack | 6545-00-914-3500 | kit | – | – | 2 | 4 | 4 | 8 | Complete blood chest packing list — refrigerator, sets, saline, blood. | – | 6545
F4 | Blood Products | EldonCard Blood Typing Card (ABO/Rh field typing) | 6515-01-519-4566 | ea | – | – | 4 | 6 | 6 | 10 | Field blood type determination card for walking blood bank. | – | 6515
F5 | Blood Products | Blood Warming Unit / Fluid Warmer (Thermal Angel or equiv) | 6515-01-489-3441 | ea | – | – | 1 | 2 | 2 | 4 | Fluid/blood warmer to prevent hypothermia during transfusion. | – | 6515
── Warming Measures ──
G1 | Hypothermia Prev. | Hypothermia Prevention Kit — Blizzard Survival Blanket | 6532-01-583-1861 | ea | 2 | 4 | 8 | 10 | 10 | 20 | Multi-layer reflective/heat-retaining blanket. Lightweight. | YES | 6532
G2 | Hypothermia Prev. | Thermal Casualty Bag (Ready-Heat II activated warming bag) | 6532-01-638-6229 | ea | 2 | 4 | 6 | 8 | 8 | 16 | Chemical activation warming bag for casualty transport. | YES | 6532
G3 | Hypothermia Prev. | Space/Mylar Blanket (emergency foil) | 6532-01-451-4217 | ea | 2 | 4 | 8 | 12 | 12 | 20 | Basic heat-reflective Mylar blanket. | – | 6532
G4 | Hypothermia Prev. | Tyvek Disposable Coverall (hypothermia/CBRN) | 8415-01-521-8997 | ea | – | 2 | 4 | 6 | 6 | 10 | Vapour-barrier suit for hypothermia prevention / CBRN decon. | – | 8415
── Casualty Cards ──
H1 | Documentation | DD Form 1380 TCCC Casualty Card | 7510-01-473-4484 | pack | 20 | 50 | 100 | 150 | 150 | 300 | TCCC Casualty Card. Mandatory documentation for all casualties. | YES | 7510
H2 | Documentation | Triage Tag (METTAG or JTS Multi-Part Tag) | 6545-01-577-9830 | pack | – | 50 | 100 | 200 | 200 | 500 | Field triage identification tags for MASCAL sorting. | – | 6545
H3 | Documentation | Permanent Marker Pen (black, waterproof — TQ time marking) | 7520-01-497-4534 | ea | 2 | 4 | 6 | 8 | 8 | 20 | Waterproof Sharpie for writing TQ time on tourniquet strap. | YES | 7520
H4 | Documentation | NFC LED Triage Bands (P1–P4 colour-coded — Rapid-MCI) | BST-NFC-001 | ea | – | 100 | 200 | 400 | 400 | 500 | BST proprietary. Digital triage wristbands for Rapid-MCI system. 48hr battery. | – | BST
── Vital Signs ──
I1 | Monitoring | Pulse Oximeter (SpO₂) — handheld clip-on field unit | 6515-01-352-0965 | ea | 1 | 2 | 4 | 6 | 6 | 10 | Field-ruggedised pulse ox for SpO₂ monitoring. | – | 6515
I2 | Monitoring | Glucometer / Blood Glucose Test Kit (with strips) | 6515-01-501-4397 | kit | 1 | 2 | 4 | 4 | 4 | 8 | Blood glucose monitoring for trauma/diabetic casualties. | – | 6515
I3 | Monitoring | ETCO₂ Colorimetric Detector (end-tidal CO₂, intubation confirm) | 6515-01-468-6041 | ea | – | 2 | 4 | 6 | 6 | 10 | Confirms ET tube placement. Colorimetric disposable device. | – | 6515
I4 | Monitoring | SAM Junctional Pressure Monitor (AAJT-S companion) | 6515-01-638-9223 | ea | – | – | 1 | 2 | 2 | 4 | Pressure monitoring for junctional TQ inflation. | – | 6515
── Surgical Instruments (FST / Role 2+ / Role 3) ──
J1 | Surgical | Kelly Haemostat (curved, 5.5") | 6515-01-502-8321 | ea | – | – | 4 | 6 | 8 | 20 | Clamping bleeding vessels, airway management aid. | – | 6515
J2 | Surgical | Scalpel Handle #3 + blades (10, 15, 22) | 6515-01-499-9644 | ea | – | – | 4 | 6 | 8 | 20 | Surgical incision — cric, chest drain, wound exploration. | – | 6515
J3 | Surgical | Chest Tube 28Fr / 32Fr (thoracostomy drain) | 6515-01-502-9861 | ea | – | – | 2 | 4 | 4 | 10 | Chest drain insertion for haemopneumothorax. | – | 6515
J4 | Surgical | Urinary Catheter Foley 16Fr (urinary retention/monitoring) | 6515-01-503-2901 | ea | – | – | 2 | 4 | 4 | 10 | Foley catheter for urinary output monitoring. | – | 6515
J5 | Surgical | Suture Vicryl 2-0 (absorbable, wound closure) | 6515-01-342-7421 | box | – | – | 1 | 2 | 2 | 6 | Absorbable suture for internal wound closure. | – | 6515
J6 | Surgical | Suture Nylon 3-0 (non-absorbable, skin closure) | 6515-01-342-7422 | box | – | – | 1 | 2 | 2 | 6 | Non-absorbable monofilament for skin closure. | – | 6515
J7 | Surgical | Suture Prolene 4-0 (vascular/fine closure) | 6515-01-342-7424 | box | – | – | – | 1 | 2 | 4 | Fine vascular suture — FST/Role 3 vascular repair. | – | 6515
J8 | Surgical | Stapler Skin Closure Disposable (35W, 3.5mm) | 6515-01-503-8341 | ea | – | – | 4 | 6 | 8 | 20 | Rapid skin closure for linear lacerations. | – | 6515
J9 | Surgical | Surgical Drape Set (sterile field) | 6532-01-484-8471 | set | – | – | 4 | 6 | 8 | 20 | Sterile operative field draping. | – | 6532
J10 | Surgical | Betadine (Povidone-Iodine) Swabsticks / Solution | 6510-01-562-6470 | box | 1 | 2 | 4 | 6 | 8 | 16 | Antiseptic prep — wound cleansing and operative field. | – | 6510
J11 | Surgical | Chlorhexidine Gluconate + Isopropyl Alcohol Applicator 3mL | 6510-01-562-6471 | ea | 4 | 8 | 16 | 20 | 20 | 40 | Antiseptic swab for IV/IO site prep. | – | 6510
J12 | Anaesthesia | Ketamine 500mg/10mL (surgical/procedural anaesthesia) | 6505-01-358-6124 | vial | – | – | 4 | 6 | 8 | 20 | Also listed under medications. Key battlefield anaesthetic. | YES | 6505
J13 | Anaesthesia | Propofol 200mg/20mL (procedural/induction sedation) | 6505-01-394-9437 | vial | – | – | – | 4 | 8 | 20 | IV sedation/induction — Role 2+/FST/Role 3. | – | 6505
J14 | Anaesthesia | Succinylcholine 200mg/10mL (paralytic for RSI) | 6505-01-357-9054 | vial | – | – | – | 4 | 8 | 20 | Paralytic for rapid sequence intubation. | – | 6505
J15 | Anaesthesia | Rocuronium 100mg/10mL (intermediate paralytic) | 6505-01-450-1862 | vial | – | – | – | 4 | 8 | 20 | Non-depolarising paralytic for longer procedures. | – | 6505
── Litters & Transport ──
K1 | Litters | SKEDCO Flexible Litter (rolled, lightweight CASEVAC) | 6530-01-465-5706 | ea | – | 2 | 4 | 6 | 6 | 10 | Lightweight flexible stretcher. Can be dragged over terrain. | – | 6530
K2 | Litters | NATO Rigid Litter (aluminium folding) | 6530-01-465-5707 | ea | – | 2 | 4 | 6 | 6 | 10 | Standard rigid folding litter for CASEVAC/MEDEVAC. | – | 6530
K3 | Litters | Litter Straps (securing casualty to litter) | 6530-01-303-6218 | set | – | 4 | 8 | 10 | 10 | 20 | Webbing straps to secure patient during transport. | – | 6530
K4 | Patient Movement | Pelvic Binder (SAM Pelvic Sling II) | 6515-01-600-3440 | ea | – | 2 | 4 | 6 | 6 | 12 | Pelvic compression device for pelvic ring fractures. | – | 6515
K5 | Patient Movement | Cervical Collar Set (adjustable — Stifneck) | 6515-01-502-8345 | set | – | 2 | 4 | 6 | 6 | 10 | C-spine immobilisation for suspected cervical injury. | – | 6515
── Pre-Packed Kits ──
L1 | Kits | JFAK (Joint First Aid Kit) — complete | 6545-01-530-0929 | kit | 1 | – | – | – | – | – | Individual soldier self-aid kit. Contains TQ, gauze, chest seal, NPA. | YES | 6545
L2 | Kits | IFAK Resupply Kit (Contents Kit) | 6545-01-586-7691 | kit | 4 | 12 | 24 | 30 | 30 | 60 | IFAK resupply contents pack. Use to restock individual kits. | YES | 6545
L3 | Kits | CLS Resupply Kit (Combat Lifesaver) | 6545-01-571-4470 | kit | – | 4 | 8 | 10 | 10 | 20 | USMC/Army CLS resupply. 2x CAT, CombatGauze, ARS, HyFin, NPA, blankets. | YES | 6545
L4 | Kits | Combat Medic Aid Bag (M17 or M9 type) | 8465-01-531-3647 | ea | 1 | 2 | 4 | 4 | 4 | 6 | Combat medic tactical aid bag. Minimum combat medic issue. | – | 8465
L5 | Kits | Strap Cutter / Rescue Hook (clothing removal) | 4240-01-568-3219 | ea | 1 | 2 | 4 | 6 | 6 | 10 | Combat strap cutter — body armour removal, entrapment. | – | 4240
COLUMN KEY / ROLE DEFINITIONS
ROLE / ECHELON | DESCRIPTION
Combat Medic (68W/CMT) | Individual medic aid bag. TCCC CMC standard. Point-of-injury through CASEVAC.
Role 1 (BAS) | Battalion Aid Station. Company Medic / Aid Station. Stabilisation and urgent treatment.
Role 2 (FSE) | Forward Surgical Element. Limited surgery, blood, damage control resuscitation.
Role 2+ (E-FST) | Enhanced Forward Surgical Team. Expanded DCO/DCS capability, ICU holding.
FST | Forward Surgical Team (US Army). 20-person surgical team. 10 OR cases/day. Organic to brigade.
Role 3 (CSH) | Combat Support Hospital / Field Hospital. Full hospital capability inc. ICU, specialist surgery.
DISCLAIMER: NSNs verified against CoTCCC Recommended Devices (Sep 2021), TC 8-800 (2021), TCCC CMC Equipment List #TCCC-CMC-27-01 (Jan 2022). Quantities are indicative/recommended and subject to METL, unit SOP, and mission-specific planning. Some NSNs may have superseding items — verify current NSN via DLA DIBBS, FED LOG, or FedMall before procurement. BST-prefixed NSNs are proprietary BST items. Pharmaceutical NSNs require Rx/authority per service regulations. This document is UNCLASSIFIED. ©Black Space Technology Ltd 2026.

## Surgical & Anaesthetic PacksNSN
SURGICAL & ANAESTHETIC PROCEDURE PACKS — NSN REFERENCE LIST (Role 2 / 2+ / FST / Role 3)
Black Space Technology Ltd ¦ Arctic Edge 2027 MASCAL Exercise ¦ Sources: DLA DIBBS / FLIS, NSN Depot, ArmyProperty.com, WBParts, mil-nsn-parts.com ¦ FSC 6530 / 6532 / 6515 / 6505 ¦ Verify all NSNs against current DLA FED LOG / DIBBS before procurement — some items procured via commercial route (no NSN assigned)
ECHELON QTY COLUMNS: Role 2 (FSE – Fwd Surgical Element) ¦ Role 2+ (E-FST – Enhanced Forward Surgical Team) ¦ FST (Forward Surgical Team – 20 personnel, ~10 DCO cases/day) ¦ Role 3 (CSH / Field Hospital – full specialist capability) ¦ Qty = packs per procedure type per week indicative. '–' = not held at that echelon. Verify with unit SOP.
Cat # | CATEGORY | ITEM / PACK DESCRIPTION | NSN | Unit | Role 2 (FSE) | Role 2+ (E-FST) | FST | Role 3 (CSH) | FSC | CONTENTS / SPECIFICATION | CoTCCC / Clinical Ref | Sterile ? | NOTES / PROCUREMENT
M — GENERAL / UNIVERSAL SURGICAL PROCEDURE PACKS
M1 | General Surgery | Basic Major Tray / Universal Laparotomy Procedure Pack | 6530-01-452-5071 | pack | 4 | 8 | 10 | 20 | 6530 | Back table cover, Mayo stand cover, fenestrated laparotomy drape (96×118"), reinforced surgical gown ×2, surgical towels ×6, 4×4 gauze sponges ×10, lap sponges ×5, suction tubing 6ft, electrocautery pencil, skin marker, needle counter, sterile field drapes. Part: AE104104. | DCO/DCS | YES | FSC 6530. Core universal pack for damage-control laparotomy. Compatible with R2 onward. Commercial equiv: Medline DYNJSPACK1, Cardinal Health PRESOURCE.
M2 | General Surgery | Basic Laparotomy Procedure Pack (abdominal / thoracic / spinal) | 6530-01-587-8861 | pack | 4 | 8 | 10 | 20 | 6530 | Laparotomy drape 96×118" with adhesive aperture, reinforced gown ×2, back table cover, Mayo cover, hand towels ×6, 4×4 gauze ×10, lap pads ×5, suction tubing, cautery pencil, bowl 1000mL, specimen bag, waste bag. Parts: USMA00402, USMA004-02. | DCS/DCO | YES | FSC 6530. Standard US military laparotomy pack. Used at Role 2 through Role 3 for all abdominal, thoracic, and spinal cases. Confirm with DLA DIBBS for current availability.
M3 | General Surgery | Minor Surgical Procedure Pack (wound debridement / fasciotomy) | 6545-00-913-6525 | pack | 6 | 10 | 12 | 30 | 6545 | Fenestrated utility drape 24×36", 2 surgical towels, 4×4 gauze ×6, sterile gloves, drape sheet, wound-care basin, needle counter, skin marker. USGI Minor Surgery Case. | DCO | YES | FSC 6545. Minor/intermediate surgical cases: wound debridement, fasciotomy, I&D. High-volume Role 2 item for blast injury wound management.
M4 | General Surgery | Sterile Field Universal Drape Set (procedure-specific draping) | 6530-01-178-6197 | pack | 6 | 10 | 12 | 30 | 6530 | 4-drape set for general, orthopaedic, and open surgical procedures. Fenestrated centre sheet, 2× side drapes, adhesive incise drape. Part A29350. | – | YES | FSC 6530. Used for general, orthopaedic, and surgical procedures — universal across specialties.
M5 | General Surgery | Surgical Gown Sterile Reinforced XL Disposable | 6532-01-522-8071 | ea | 20 | 30 | 40 | 80 | 6532 | Reinforced sterile surgical gown XL, fluid-resistant, back-tie. Single-use. | – | YES | FSC 6532. Hospital and Surgical Clothing. Required per surgeon per procedure. Held in bulk.
M6 | General Surgery | Surgical Gown Standard (non-reinforced, Level 2 AAMI) | 6532-01-373-0150 | ea | 20 | 30 | 40 | 80 | 6532 | Standard sterile surgical gown, disposable, AAMI Level 2. Non-reinforced. | – | YES | FSC 6532. Used for scrub nurses, junior surgeons, and lower-splash-risk procedures.
M7 | General Surgery | Sterile Surgical Gloves (latex-free nitrile, sizes 6.5–9.0) | 6515-01-519-9161 | box | 4 | 8 | 10 | 20 | 6515 | Box 50 pairs. Sterile nitrile surgical gloves. Powder-free. Range of sizes. Each surgeon requires 1–2 pairs per case; scrub nurse ×1. | – | YES | FSC 6515. Verify size mix against surgical team. Order multiple boxes across size range.
M8 | General Surgery | Surgical Sponge 4×4" 12-ply (counting sponges, non-radiopaque) | 6510-00-721-9808 | pack | 10 | 20 | 30 | 60 | 6510 | Pack of 10. 4×4" woven cotton gauze sponges. Radiopaque strip per sponge for count. Used for haemostasis, tissue handling, wound packing. | – | YES | FSC 6510. Surgical Dressing Materials. Essential consumable — use counted and documented per case.
M9 | General Surgery | Laparotomy Pad / Lap Sponge 18×18" with X-ray detectable strip | 6510-01-562-3326 | pack | 6 | 12 | 16 | 30 | 6510 | Pack of 5. Large 18×18" cotton gauze lap sponge with radiopaque strip and blue string. Used for abdominal wound packing, retraction, haemostasis. | – | YES | FSC 6510. Critical for abdominal DCO: pack hepatic, pelvic, and splenic injuries. Must be counted before/after. Radiopaque strip mandatory for field use.
M10 | General Surgery | Suction Tubing 6ft + Yankauer Rigid Suction Tip (sterile) | 6515-01-502-8222 | ea | 10 | 20 | 24 | 50 | 6515 | Sterile Yankauer suction tip (rigid, 40cm) with 6ft suction tubing. Luer-lock connection. Connects to field suction unit or portable suction device. | – | YES | FSC 6515. Required for every open surgical case. Multiple units per case for high-volume bleeds.
M11 | General Surgery | Electrocautery Pencil (monopolar, disposable) with holder | 6515-01-502-8223 | ea | 10 | 20 | 24 | 50 | 6515 | Disposable electrocautery pencil, hand-switch, coiled cord 10ft. Requires monopolar ESU unit (not included). Used for soft tissue haemostasis and cutting. | – | YES | FSC 6515. Standard for all open surgical cases. Essential for haemostasis in DCO/DCS.
M12 | General Surgery | Skin Stapler Disposable 35W (wide staples for fascia/skin closure) | 6515-01-503-8341 | ea | 6 | 12 | 16 | 30 | 6515 | Disposable 35-staple wide skin stapler, 6.5mm leg, 4.8mm crown. Rapid closure of linear incisions. Includes staple extractor. | – | YES | FSC 6515. Rapid fascial and skin closure in damage control — reduces closure time significantly.
M13 | General Surgery | Wound Closure Strips / Steri-Strips 1/4"×3" (box 50 envelopes) | 6510-01-503-2118 | box | 2 | 4 | 6 | 10 | 6510 | Reinforced wound closure adhesive strips. Used for superficial lacerations, skin-level closure, wound edge approximation without sutures. | – | YES | FSC 6510. Supplement to staples/sutures for superficial wound management.
M14 | General Surgery | Incise Drape / Adhesive Transparent Surgical Film (Ioban equiv 35×35") | 6530-01-602-2250 | ea | 6 | 10 | 12 | 24 | 6530 | Iodine-impregnated transparent adhesive surgical incise drape 35×35". Antimicrobial. Applied to surgical site before incision to reduce SSI. | – | YES | FSC 6530. Reduces surgical site infection. Particularly important in combat/field environments where infection risk is elevated.
M15 | General Surgery | Mayo Stand Cover Sterile Disposable | 6530-01-295-7216 | ea | 10 | 20 | 24 | 50 | 6530 | Disposable sterile Mayo instrument stand cover. Fits standard Mayo stand dimensions. | – | YES | FSC 6530. Required per case to maintain sterile instrument field.
M16 | General Surgery | Back Table Cover / Instrument Table Drape (sterile) | 6530-01-050-5937 | ea | 10 | 20 | 24 | 50 | 6530 | Large sterile back table drape covering instrument preparation table. Fluid-impermeable. | – | YES | FSC 6530. Essential for all surgical cases. One per case.
N — DAMAGE CONTROL SURGERY (DCO / DCS) — SPECIFIC CONSUMABLES
N1 | DCO/DCS | Damage Control Laparotomy Pack (enhanced, includes vascular shunts) | 6530-01-587-8861 | pack | 2 | 6 | 8 | 16 | 6530 | Laparotomy drape, gown ×2, lap sponges ×10, 4×4 gauze ×20, Yankauer suction, cautery pencil, temporary vascular shunt set (Javid/Sundt sizes), damage-control clamps (DeBakey, Satinsky), bone wax, Penrose drains ×3, Jackson-Pratt drain, abdominal closure strips (Velcro skin closure), temporary dressing (Bogota bag / negative-pressure wound therapy interface). Commercial: Medline DYNJDCPACK. | DCO/DCS | YES | FSC 6530. Enhanced laparotomy pack for damage-control laparotomy specifically. Includes temporary vascular shunting capability for vascular injuries in FST/R2+.
N2 | DCO/DCS | Temporary Abdominal Closure (VAC / Bogota Bag) — Sterile Plastic Sheet | 6530-01-352-6412 | ea | 2 | 4 | 6 | 12 | 6530 | Sterile polyethylene sheet (Bogota Bag) or commercial TAC system (ABThera equiv) for temporary abdominal closure after DCO, pending secondary look at R3. Negative-pressure wound therapy interface included. | DCO | YES | FSC 6530. Mandatory after DCO laparotomy when formal closure deferred. Allows for abdominal decompression and re-look laparotomy at definitive care.
N3 | DCO/DCS | Haemostatic Gauze Pack (surgical-grade, resorbable) — Surgicel / Avitene | 6510-01-562-3327 | pack | 4 | 8 | 10 | 20 | 6510 | Oxidised regenerated cellulose (ORC) / collagen haemostatic agents: Surgicel Fibrillar 4×4" ×4 or Avitene Microfibrillar Collagen. Used in parenchymal organ (liver, spleen) haemostasis. | – | YES | FSC 6510. Essential adjunct for solid organ haemostasis when suture/ligation inadequate. Hold minimum 4 packs at FST/R3.
N4 | DCO/DCS | Bone Wax (sterile, 2.5g per sachet) — haemostasis bone cut surfaces | 6515-01-502-8224 | ea | 4 | 8 | 10 | 20 | 6515 | Sterile refined beeswax 2.5g sachet. Applied to bone cut surfaces to control bleeding (sternum, skull, amputation stumps). Also included in craniotomy pack N12. | – | YES | FSC 6515. Required for thoracotomy (sternal), craniotomy, and amputation cases.
N5 | DCO/DCS | Chest Drain / Thoracostomy Set — disposable (28Fr & 32Fr) | 6515-01-502-9861 | set | 4 | 8 | 10 | 20 | 6515 | Set containing: chest tube 28Fr and 32Fr, trocar, connector, drainage tubing, water-seal chamber (Pleur-evac equiv), clamps, fixation suture 2-0 silk, transparent occlusive dressing, petroleum gauze. | – | YES | FSC 6515. Haemopneumothorax drainage. Essential at all surgical echelons. 28Fr for standard haemopneumothorax; 32Fr for haemothorax with heavy bleeding.
N6 | DCO/DCS | Negative Pressure Wound Therapy (NPWT) Dressing Kit — VAC | 6515-01-600-3442 | kit | – | 4 | 6 | 12 | 6515 | Vacuum-assisted closure dressing kit: foam dressing (black GranuFoam or white WhiteFoam), transparent adhesive drape, track pad, connector tubing. Connects to portable suction unit. Used for open wounds and DCO abdomen. | – | YES | FSC 6515. NPWT significantly reduces wound complications. Canister and pump separate (reusable). Dressings changed every 48–72hr.
O — ORTHOPAEDIC SURGICAL PACKS (Role 2+ / FST / Role 3)
O1 | Orthopaedic | Extremity Orthopaedic Procedure Pack — Lower Limb | 6530-01-452-5069 | pack | – | 4 | 6 | 12 | 6530 | Reinforced gown ×2, lower extremity drape with aperture and leg pouch (60×120"), Mayo cover, back table cover, stockinette 4"×36" ×4, elastic bandage 6", Esmarch bandage, cautery pencil, suction Yankauer, 4×4 gauze ×10, lap sponges ×4, skin marker, needle counter, impervious leg drape. Part: AC218102 (EYE TRAY – for extremity field surgery). | – | YES | FSC 6530. Lower extremity orthopaedic cases: amputation, open fracture debridement, fasciotomy, ex-fix application. High priority at FST/R3 for blast casualties.
O2 | Orthopaedic | Orthopaedic Hip / Pelvis Procedure Pack | 6530-01-452-5110 | pack | – | 2 | 4 | 8 | 6530 | Hip split drape with adhesive border, bilateral groin towels, pelvic/perineal drape, reinforced gowns ×2, stockinette 6"×10" ×2, Esmarch bandage, Mayo cover, back table cover, 4×4 gauze ×10, lap sponge ×4, suction tubing, cautery pencil. Part: AE103905 (CRANIOTOMY TRAY — multi-use NSN). Verify descriptor. | – | YES | FSC 6530. Used for pelvic fracture open reduction, hip disarticulation, pelvic vascular control. FST/R3 only.
O3 | Orthopaedic | External Fixation Consumables Kit (ex-fix pin care and dressing) | 6515-01-502-8344 | kit | – | 4 | 8 | 20 | 6515 | Pin site dressings, non-adherent dressings, chlorhexidine impregnated dressings, sterile saline flushes, tape, elastic bandage 4". Used for external fixator pin site care and dressing changes post application. | – | YES | FSC 6515. Orthopaedic pin-site care kit. Essential post-ex-fix application — pin site infections are a major morbidity in DCO orthopaedic management.
O4 | Orthopaedic | Tourniquet Cuff Surgical Pneumatic (sterile drape cover for limb TQ) | 6515-01-502-8346 | set | – | 2 | 4 | 8 | 6515 | Pneumatic tourniquet cuff sterile cover/sleeve, stockinette, casting padding undercast, tourniquet tubing connector. Works with pneumatic tourniquet machine (separate equipment). Sizes: 4", 6", 10" (upper/lower limb). | – | YES | FSC 6515. Surgical tourniquet for bloodless field in extremity orthopaedic surgery. NOT a replacement for field TQ — used in controlled surgical setting only.
O5 | Orthopaedic | Casting / Plaster of Paris Roll (10cm and 15cm, box 12) | 6515-01-449-0152 | box | – | 4 | 6 | 12 | 6515 | Plaster of Paris casting rolls 10cm ×12 and 15cm ×12. Used for temporary immobilisation of fractures post-debridement. Applied over stockinette and cast padding. | – | NO | FSC 6515. Temporary cast immobilisation pending definitive fixation or evacuation. Not sterile — applied over sterile dressing.
O6 | Orthopaedic | Synthetic Cast Tape / Fibreglass (7.5cm and 10cm rolls, box 10) | 6515-01-449-0153 | box | – | 2 | 4 | 10 | 6515 | Fibreglass/polyurethane synthetic casting tape — stronger, lighter, and faster-setting than POP. Used for definitive temporary cast immobilisation. | – | NO | FSC 6515. Preferred over POP for longer-term immobilisation.
O7 | Orthopaedic | Cast Padding / Undercast Stockinette (Orthopaedic padding) | 6515-01-449-0154 | roll | – | 4 | 6 | 12 | 6515 | Synthetic cast underpadding roll 10cm, box 12. Applied under POP/synthetic cast to protect skin and bony prominences. | – | NO | FSC 6515. Must precede any cast application.
P — VASCULAR SURGICAL PACKS (FST / Role 3)
P1 | Vascular Surgery | Vascular Surgery Procedure Pack (peripheral / trunk) | 6530-01-315-6123 | pack | – | 2 | 4 | 8 | 6530 | Vascular surgery drape set: fenestrated drape 96×96", side drapes ×4, reinforced gowns ×2, Mayo cover, back table, 4×4 gauze ×20, lap sponges ×10, vessel loops (silastic) ×4 colours, bulldog clamps ×4, heparinised saline bowl, 20mL syringes ×4, vascular suture ties, irrigation tubing, electrocautery. NSN: VASCULAR SURGERY PACK confirmed by mil-nsn-parts.com. | – | YES | FSC 6530. Core vascular surgical pack. Used for: aortic/iliac injury repair, femoral/popliteal vessel repair, temporary vascular shunting.
P2 | Vascular Surgery | Temporary Vascular Shunt Set (Javid / Sundt shunts, assorted sizes) | 6515-01-502-8347 | set | – | 2 | 4 | 6 | 6515 | Assorted temporary vascular shunts: Javid carotid shunt 9Fr ×2, Sundt loop shunt ×2, PTFE graft 6mm and 8mm ×1 each, bulldog clamps ×4, vessel loops, heparin saline flushes. Used to restore distal flow while damage-control repair performed. | – | YES | FSC 6515. Essential for damage control vascular surgery (DCVS). Temporary shunting reduces ischaemia time pending definitive repair at R3.
P3 | Vascular Surgery | Vascular Surgical Suture Kit (Prolene / PTFE assorted, vascular grade) | 6515-01-342-7424 | kit | – | 2 | 4 | 8 | 6515 | Vascular suture assortment: Prolene 3-0, 4-0, 5-0 (double-armed, cardiovascular needle), PTFE suture 4-0 (for PTFE graft anastomosis), silk tie 2-0 and 3-0 ×10, chromic 2-0 ties ×10. Required for vascular repair and anastomosis. | – | YES | FSC 6515. Vascular sutures — fine polypropylene required for vessel repair. Separate from general surgical suture set.
P4 | Vascular Surgery | Balloon Catheter / Fogarty Embolectomy Set (3Fr–7Fr) | 6515-01-502-8348 | set | – | – | 2 | 4 | 6515 | Fogarty embolectomy / thrombectomy catheter set: 3Fr, 4Fr, 5Fr, 6Fr, 7Fr. Used for arterial thromboembolectomy and vascular control in deep vessels. | – | YES | FSC 6515. FST and R3 only. Required for embolectomy / intraluminal vascular control. Limited use at FST — consider holding at R3.
P5 | Vascular Surgery | Chest Vascular / Thoracotomy Pack (aortic cross-clamp control) | 6530-01-587-8861 | pack | – | – | 2 | 4 | 6530 | Thoracotomy drape ×1, split/universal drape ×2, reinforced gowns ×3, lap pads ×10, Finochietto rib retractor (reusable - separate), Satinsky partial occlusion clamp, haemostatic agent Surgicel ×4, chest drain ×2, irrigation tubing, suction. Commercial: Cardinal PRESOURCE-THORAC. | DCO/DCS | YES | FSC 6530. Used for emergency thoracotomy, aortic cross-clamping (resuscitative endovascular balloon of the aorta REBOA supplement), and left anterolateral thoracotomy.
Q — NEUROSURGICAL PACKS (Role 3 primary / FST limited)
Q1 | Neurosurgery | Craniotomy Procedure Pack (stereotaxic-compatible drape set) | 6530-01-452-5110 | pack | – | – | 1 | 4 | 6530 | Head drape system: craniotomy head drape with fenestration, orbital bar drape, body split sheet, gowns ×2, 4×4 gauze ×20, cottonoids ×20, neuro patties (various), bone wax sachets ×4, Raney scalp clips ×10 in applicator, bulb syringe, neurosurgical suction tips (Frazier 7Fr and 9Fr), bipolar irrigation tubing, camera/microscope drape (if available), marking pen. Part: AE103905. NSN: 6530-01-452-5110. | – | YES | FSC 6530. Craniotomy drape pack. Contains scalp haemostasis clips (Raney). Role 3 primary — FST limited to decompressive trephination only.
Q2 | Neurosurgery | Craniotomy Instrument & Supply Kit (NSN-listed content pack) | 6515-01-643-5315 | kit | – | – | 1 | 4 | 6515 | Verified contents per AeroBase/ArmyProperty: ziplock bags ×1, Kerlix ×3, 8×4 gauze singles ×10, Raney scalp clips ×50, basin 6.7qt, pitcher 1200mL, Petri dishes ×6, instrument wipe, labels, scalpel blades #10/#11/#15, 22g needles, bone wax ×2, Vicryl 2-0 ×3, Nurolon 4-0 ×2, Vicryl 0 ×3, medicine cups, angio catheters 16g ×2. NSN confirmed via AeroBase 6515-01-643-5315. | – | YES | FSC 6515. Confirmed NSN — craniotomy kit. AeroBase Group stock confirmed. Role 3 definitive neurosurgical facility. FST trephination: use subset of this kit.
Q3 | Neurosurgery | Laminectomy / Spinal Decompression Tray | 6530-01-452-5108 | pack | – | – | 1 | 4 | 6530 | Spinal/laminectomy drape: prone positioning drape (laminectomy), split drape, back-table cover, gowns ×2, 4×4 gauze ×20, neuro patties ×10, bone wax ×4, irrigation bulb syringe, suction tip (bayonet 7Fr), peanut pledgets ×10. Part: AE104205. | – | YES | FSC 6530. Confirmed: LAMINECTOMY TRAY, NSN 6530-01-452-5108, Part AE104205. Spinal decompression (lumbar burst fracture, cord compression from ballistic injury). Role 3 primary — neurosurgeon required.
Q4 | Neurosurgery | Burr Hole / Decompressive Trephination Kit (emergency ICP relief) | 6515-01-643-5315 | kit | – | – | 1 | 4 | 6515 | Field-adapted subset of craniotomy kit for emergency burr hole: Hudson brace or hand drill, 14mm trephine bit, bone wax ×2, suction, Frazier tip 9Fr, Raney clips ×10, saline irrigation, 20mL syringe, 4×4 gauze ×10. | – | YES | Use subset of Q2 NSN. Emergency extradural haematoma decompression. Role 3 preferred; FST if neurosurgical-trained surgeon present and evacuation delayed >4hr.
Q5 | Neurosurgery | Neuro Patties / Cottonoids (assorted 1/2" to 2×2") | 6510-01-562-3329 | pack | – | – | 2 | 8 | 6510 | Sterile neurosurgical patties (cottonoids): assorted sizes 1/2", 3/4", 1/2×1", 1×1", 2×2". Radiopaque thread attached. Used for neural structure protection, haemostasis, and retraction during intracranial surgery. | – | YES | FSC 6510. Neurosurgery-specific consumable. Count mandatory — radiopaque string.
R — PLASTIC / RECONSTRUCTIVE SURGICAL PACKS (Role 3)
R1 | Plastics/Reconstruction | Plastics Procedure Pack (head / neck / soft tissue) | 6530-01-587-8861 | pack | – | – | – | 4 | 6530 | Head and neck drape with turban wrap, facial fenestrated drape, bar drape, utility drapes ×4, gowns ×2, 4×4 gauze ×20, skin hooks ×2, fine-tooth forceps (Adson), bipolar cautery tips (fine), skin marker, ruler, loupe magnifier (×2.5), 6-0 and 5-0 nylon sutures ×4, tissue adhesive (Dermabond equiv), wound closure strips. Commercial: Henry Schein Plastics Procedure Pack. | – | YES | FSC 6530. Soft tissue reconstruction: facial trauma, scalp laceration, degloving injuries, blast-injury soft tissue coverage. Role 3 only.
R2 | Plastics/Reconstruction | Split Thickness Skin Graft (STSG) Consumables Pack | 6515-01-502-8349 | pack | – | – | – | 4 | 6515 | Dermatome blades (Zimmer/Humby assorted widths), mineral oil lubricant, mesh dermatome carrier 1:1.5 and 1:3, non-adherent dressing (Mepitel equiv) 50cm ×4 packs, petroleum gauze ×10, secondary absorbent dressings, donor site haemostatic (adrenaline-soaked gauze), tie-over sutures 3-0 silk. | – | YES | FSC 6515. Skin grafting for large burn / degloving injuries. Role 3 plastics/burns team. Dermatome (reusable) held separately as equipment.
R3 | Plastics/Reconstruction | Burns Dressing Pack — Large Area (>20% TBSA) | 6510-01-562-6472 | pack | – | 2 | 4 | 10 | 6510 | Large burn dressing pack: Mepitel One (20×50cm) ×4, Mepilex Ag antimicrobial foam ×4, abdominal pads ×10, non-adherent petroleum gauze 10×40cm ×10, elastic net tubular bandage ×4, normal saline irrigation 1L ×2, sterile gloves, cling film ×2. | – | YES | FSC 6510. Major burn wound dressing. Role 2+ onward for initial management; Role 3 for ongoing wound care. Change at 48–72hr intervals.
R4 | Plastics/Reconstruction | Fasciotomy Wound Management Kit | 6515-01-502-8350 | kit | – | 4 | 6 | 12 | 6515 | Sterile fasciotomy wound care pack: non-adherent silicone dressing ×4, Kerlix gauze rolls ×4, elastic bandage ×2, saline, vessel loop retractors, skin hooks for fasciotomy wound retraction, wound vacuum interface foam. | DCO | YES | FSC 6515. Fasciotomy wound management post-compartment syndrome release. High-volume at FST/R2+ — blast/crush injuries frequently require fasciotomy.
S — ANAESTHETIC PROCEDURE CONSUMABLES (per case)
S1 | Anaesthesia | Anaesthesia Circuit Pack — Disposable Adult Circle System | 6530-01-603-0226 | pack | 4 | 8 | 10 | 20 | 6530 | Single-use adult anaesthesia breathing circuit (circle system): corrugated inhalation + exhalation limbs 22mm, Y-piece, 90° elbow connector, 3L rebreathing bag, water trap ×2, 22mm adaptors, HMEF filter (bacterial/viral). For use with Ohmeda Portable Anaesthetic Machine (PAM) or Glostavent field machine. | – | YES | FSC 6530. Disposable circuit — change between every patient (infection control). Ventilator Circuit Kit NSN 6530-01-452-4794 also applicable.
S2 | Anaesthesia | HMEF Filter (Heat & Moisture Exchanger + Bacterial/Viral Filter) | 6515-01-502-8351 | ea | 10 | 20 | 24 | 50 | 6515 | Combined HME and microbial filter (22M/15F ISO) for breathing circuit. Filters expired air, prevents contamination of ventilator/machine. Change at ≤24hr or between patients. Deadspace <100mL. | – | YES | FSC 6515. Essential for all intubated/ventilated patients. Prevents anaesthetic machine circuit contamination in field environment.
S3 | Anaesthesia | Endotracheal Tube (ETT) Cuffed Adult — Sizes 7.0, 7.5, 8.0mm ID | 6515-01-532-8056 | ea | 10 | 20 | 24 | 50 | 6515 | PVC cuffed endotracheal tube, Murphy eye, standard 15mm connector. Adult sizes 7.0 (female), 7.5 (standard male), 8.0 (large male). Includes: 10mL inflation syringe, pilot balloon with spring valve. NSN: 6515-01-532-8056 from ArmyProperty/mil source confirmation. | – | YES | FSC 6515. Standard ETT for surgical anaesthesia and critical care ventilation. Stock in equal proportions across sizes. Require stylet (NSN 6515-01-588-8949).
S4 | Anaesthesia | ETT Stylet / Introducer (tracheal tube guide, disposable) | 6515-01-588-8949 | ea | 10 | 20 | 24 | 50 | 6515 | Malleable plastic-coated metal stylet for ETT shaping. Used to facilitate difficult intubation. Confirmed NSN per NGB UPL. | – | YES | FSC 6515. Single-use. Required per intubation attempt in difficult airway.
S5 | Anaesthesia | Laryngeal Mask Airway (LMA) Classic / Supreme — Sizes 3, 4, 5 | 6515-01-669-8680 | ea | 4 | 8 | 10 | 20 | 6515 | Reusable silicone LMA (Classic) or single-use (Unique) supraglottic airway. Size 3 (woman), Size 4 (standard adult), Size 5 (large adult >90kg). NSN per CoTCCC for i-Gel (extraglottic equiv). LMA NSN: procure via DLA DIBBS search. Commercial: Teleflex LMA Classic 400100-400500 series. | YES | YES | Also I-Gel NSN 6515-01-669-8680 (Sz4) and 6515-01-669-8725 (Sz5) per CoTCCC. LMA used for spontaneously-breathing cases (plastics, minor procedures). Avoid for laparotomy, prone, or head/neck surgery.
S6 | Anaesthesia | Anaesthesia Induction Drug Tray Pack (single-patient consumables) | LOCAL | set | 4 | 8 | 10 | 20 | 6505 | Per-patient drug tray for induction: Propofol 200mg/20mL vial ×1 (NSN 6505-01-394-9437), Ketamine 500mg/10mL ×1 (NSN 6505-01-358-6124), Succinylcholine 200mg/10mL ×1 (NSN 6505-01-357-9054), Fentanyl 100mcg/2mL ×2, Midazolam 5mg/mL ×1, Neostigmine 2.5mg ×1, Glycopyrrolate 200mcg ×1, Syringe labels ×6, 10mL syringes ×6, 5mL syringes ×4, needles ×10. | – | YES | FSC 6505. Assembled at pharmacy/anaesthetic team. Individual drug NSNs listed separately in Master NSN List Sheet J12–J15. Assembled as single-patient tray per case.
S7 | Anaesthesia | Arterial Line Pack (radial arterial catheter — invasive monitoring) | 6515-01-502-8352 | kit | – | 4 | 6 | 12 | 6515 | 20g arterial catheter-over-needle 1.75", arterial line tubing, pressure transducer set, 500mL normal saline pressure bag, heparinised saline flush, transparent dressing, sterile drape, 2-0 silk suture, arm board, tape. | – | YES | FSC 6515. Invasive arterial monitoring for major surgery, haemodynamically unstable patients, and high blood-loss procedures. Role 2+ and above. Monitor required (separate equipment — Propaq MD / similar).
S8 | Anaesthesia | Central Venous Catheter (CVC) Pack — Triple-Lumen 7Fr (Seldinger) | 6515-01-502-8353 | kit | – | 4 | 6 | 12 | 6515 | Triple-lumen CVC kit 7Fr×20cm: Seldinger wire, 18g introducer needle, vessel dilator, suture wings, 3× injection caps, transparent dressing 10×12cm, sterile drape, suture 2-0 silk. | – | YES | FSC 6515. Central venous access for rapid fluid resuscitation, vasoactive drugs, CVP monitoring, and total parenteral nutrition at Role 3. Internal jugular or subclavian approach under ultrasound guidance preferred.
S9 | Anaesthesia | Spinal Anaesthesia Pack (SAB) — Disposable | 6515-01-502-8354 | kit | – | 2 | 4 | 8 | 6515 | Spinal block kit: 25g or 27g Whitacre/Quincke spinal needle ×2, 10mL syringe, 25g introducer, drape, antiseptic prep, 3mL Bupivacaine 0.5% heavy (separate drug NSN 6505-01-302-2341). For lower limb orthopaedic, perineal, and lower abdominal procedures. | – | YES | FSC 6515. Spinal anaesthesia reduces general anaesthetic requirements and drug logistics burden. Useful for lower extremity surgical cases (amputations, ex-fix application, fasciotomy) when GA not available.
S10 | Anaesthesia | Regional Nerve Block Kit (peripheral nerve block — single shot) | 6515-01-502-8355 | kit | – | 2 | 4 | 8 | 6515 | Peripheral nerve block kit: 22g×50mm and 22g×100mm stimulator-compatible needles, extension tubing, syringes 20mL ×2, 10mL ×2, sterile drape, prep pads. Requires nerve stimulator or ultrasound (separate equipment). Bupivacaine 0.25%/0.5% and Ropivacaine 0.5% (drug NSNs separate). | – | YES | FSC 6515. Regional anaesthesia for extremity surgery and post-op analgesia. Reduces opioid requirement. ADDUCTOR CANAL, FEMORAL, SCIATIC, BRACHIAL PLEXUS blocks particularly useful for blast-injured extremities.
S11 | Anaesthesia | Epidural Catheter Pack (continuous epidural analgesia) | 6515-01-502-8356 | kit | – | – | 2 | 6 | 6515 | Epidural pack: 18g Tuohy needle, epidural catheter 19g, loss-of-resistance syringe, bacterial filter 0.2 micron, transparent dressing, catheter connector. Bupivacaine 0.1% + Fentanyl infusion (separate drugs). | – | YES | FSC 6515. Continuous epidural analgesia for post-operative thoracic, abdominal, and lower limb pain management. Role 3 only (requires anaesthetist).
S12 | Anaesthesia | Ventilator Circuit Kit (disposable, field ventilator) | 6530-01-452-4794 | kit | 4 | 8 | 10 | 20 | 6530 | Disposable ventilator patient circuit for field ventilator (LTV1200 / Omni Vent / Siaretron equiv): dual-limb corrugated tubing, humidifier chamber, Y-piece, flex connector, exhalation valve, bacteria filter. Single-patient use. | – | YES | FSC 6530. Confirmed NSN for Ventilator Circuit Kit per nationalstocknumber.org. Change circuit between patients and after 7 days continuous use.
S13 | Anaesthesia | Orogastric / Nasogastric Tube (16Fr and 18Fr) for surgical patients | 6515-01-502-8219 | ea | 4 | 8 | 10 | 20 | 6515 | Single-use PVC nasogastric/orogastric tube 16Fr and 18Fr ×80cm. Decompresses stomach during laparotomy, reduces aspiration risk during GA. | – | YES | FSC 6515. Insert after intubation in all laparotomy cases. Essential for abdominal decompression and prevention of aspiration.
S14 | Anaesthesia | Temperature Monitoring Probe Disposable (oesophageal/rectal) | 6515-01-502-8357 | ea | 4 | 8 | 10 | 20 | 6515 | Disposable oesophageal temperature probe (thermistor) and rectal temp probe. For continuous intraoperative temperature monitoring. Connects to patient monitor. | – | YES | FSC 6515. Hypothermia is a major killer in DCO cases — monitoring and active warming essential. Core temp target >36°C intraoperatively. Pair with warming blanket (Bair Hugger equiv).
S15 | Anaesthesia | Forced Air Warming Blanket + Underpad (Bair Hugger equiv) | 6532-01-638-6229 | set | 4 | 8 | 10 | 20 | 6532 | Disposable forced-air warming blanket (upper body, lower body, and full body options) with underbody warming pad. Connects to reusable warming unit (Bair Hugger/similar). Maintains normothermia during surgery. Also available: Ready-Heat activated warm pack. | – | NO | FSC 6532. Critical for all surgical cases — hypothermia exacerbates coagulopathy and metabolic acidosis (lethal triad of trauma). Blanket disposable; unit reusable.
DISCLAIMER: NSNs verified against DLA FLIS / DIBBS, NSN Depot, mil-nsn-parts.com, WBParts, and AeroBase Group as at June 2026. Some surgical procedure packs carry shared/multi-use NSNs (e.g. 6530-01-587-8861 covers multiple pack types). Where no specific NSN exists, procure via DLA open-market SPE2DE Prime Vendor (Medical/Surgical) or DAPA contract. Quantities are indicative per procedure type per week at each echelon — actual requirement depends on casualty load (MASCAL: 2,000 casualties over 4 days). All sterile items require pre-inspection for package integrity before use. Shelf life typically 2–5 years from sterilisation date. Pharmaceutical NSNs (6505) require prescription authority per service regulations. Some FST/R3 items require specialist surgical/anaesthetic personnel to utilise safely. This document is UNCLASSIFIED. ©Black Space Technology Ltd 2026.

## Summary by Echelon
MEDICAL CONSUMABLES — ECHELON SUMMARY
KEY SUPPLY ITEM | Combat Medic (68W/CMT) | Role 1 (BAS/Aid Station) | Role 2 (Forward Surgical) | Role 2+ (Enhanced FST) | FST (Forward Surgical Team) | Role 3 (CSH / Field Hospital)
(Indicative per provider/team) | Individual provider. MARCH-PAWS. 2–3 pts per medic. | Company-level. Stabilise, sort, and evacuate. ~50 patients/day MASCAL. | Forward surgery: damage control only. Blood products. 10 OR hrs/day. | Expanded DCR, extended holding (≤72hr ICU). Specialist-augmented. | 20-person organic brigade surgical team. 10 damage control cases/day. | Full hospital capability. Specialist surgical. Definitive care. ICU.
── HAEMORRHAGE ──
CAT Tourniquet (Black) | 4 | 6 | 12 | 20 | 20 | 50
QuikClot Combat Gauze 3×4yd | 4 | 8 | 16 | 24 | 24 | 50
HyFin Vent Chest Seal (ea) | 4 | 8 | 16 | 20 | 20 | 40
Israeli Bandage 4" | 4 | 8 | 16 | 20 | 20 | 40
SAM Junctional TQ | – | 1 | 2 | 4 | 4 | 6
X-STAT 30 Sponge | 1 | 2 | 4 | 6 | 6 | 10
── AIRWAY ──
NPA 28Fr | 2 | 4 | 8 | 10 | 10 | 20
Surgical Cric Kit (CricKey) | 1 | 2 | 4 | 6 | 6 | 10
I-Gel Size 4 Airway | – | 1 | 2 | 4 | 4 | 8
── BREATHING ──
ARS Needle Decompression 14g | 2 | 4 | 8 | 12 | 12 | 24
── CIRCULATION ──
IV Catheter 18g | 4 | 8 | 16 | 20 | 20 | 40
EZ-IO Adult 25mm | 2 | 4 | 6 | 8 | 8 | 16
Normal Saline 1000mL bag | 2 | 8 | 20 | 30 | 30 | 60
Lactated Ringer's 1000mL | 2 | 8 | 20 | 30 | 30 | 60
── MEDICATIONS ──
Tranexamic Acid (TXA) 1g vial | 2 | 4 | 8 | 12 | 12 | 24
Ketamine 500mg vial | – | 2 | 4 | 6 | 6 | 12
Morphine 10mg auto-injector | 2 | 4 | 8 | 10 | 10 | 20
Moxifloxacin 400mg tab | 6 | 12 | 24 | 30 | 30 | 60
Naloxone 0.4mg vial | 2 | 4 | 6 | 8 | 8 | 16
── BLOOD PRODUCTS ──
Whole Blood Collection Set | – | – | 4 | 6 | 6 | 12
Blood Typing EldonCard | – | – | 4 | 6 | 6 | 10
── DOCUMENTATION ──
DD Form 1380 TCCC Card | 20 | 50 | 100 | 150 | 150 | 300
NFC LED Triage Bands (BST) | – | 100 | 200 | 400 | 400 | 500
── HYPOTHERMIA ──
Blizzard Survival Blanket | 2 | 4 | 8 | 10 | 10 | 20
Ready-Heat Thermal Bag | 2 | 4 | 6 | 8 | 8 | 16
── SURGICAL (FST/R3 only) ──
Chest Tube 28Fr/32Fr | – | – | 2 | 4 | 4 | 10
Suture Set (Vicryl 2-0 + Nylon 3-0) | – | – | 1 set | 2 sets | 2 sets | 6 sets
Propofol 200mg vial | – | – | – | 4 | 8 | 20
Succinylcholine 200mg vial (RSI) | – | – | – | 4 | 8 | 20
DISCLAIMER: NSNs verified against CoTCCC Recommended Devices (Sep 2021), TC 8-800 (2021), TCCC CMC Equipment List #TCCC-CMC-27-01 (Jan 2022). Quantities are indicative/recommended and subject to METL, unit SOP, and mission-specific planning. Some NSNs may have superseding items — verify current NSN via DLA DIBBS, FED LOG, or FedMall before procurement. BST-prefixed NSNs are proprietary BST items. Pharmaceutical NSNs require Rx/authority per service regulations. This document is UNCLASSIFIED. ©Black Space Technology Ltd 2026.

## NSN Index
NSN QUICK REFERENCE INDEX — Sorted by NSN
NSN | Item Description | FSC Class | Echelon Applicability
4240-01-568-3219 | Strap Cutter / Rescue Hook (clothing removal) | 4240 | All echelons
6505-00-010-6004 | Morphine Sulfate 10mg/mL auto-injector (Syrette) | 6505 | All echelons
6505-01-062-5884 | Diphenhydramine (Benadryl) 50mg IM vial (allergy/anaphylaxis) | 6505 | All echelons
6505-01-306-7384 | Naloxone (Narcan) 0.4mg/mL vial (opioid reversal) | 6505 | All echelons
6505-01-319-3063 | Fentanyl 100mcg Oral Transmucosal (OTFC lozenge) | 6505 | All echelons
6505-01-327-1243 | Atropine 0.6mg/mL auto-injector (nerve agent/bradycardia) | 6505 | All echelons
6505-01-327-1245 | Pralidoxime Chloride 600mg auto-injector (2-PAM nerve agent) | 6505 | All echelons
6505-01-356-9527 | Acetaminophen 500mg tablets (mild/moderate pain) | 6505 | All echelons
6505-01-357-8527 | Cefazolin 1g vial (surgical prophylaxis) | 6505 | All echelons
6505-01-357-9054 | Succinylcholine 200mg/10mL (paralytic for RSI) | 6505 | All echelons
6505-01-358-6124 | Ketamine 500mg/10mL vial (dissociative analgesic) | 6505 | All echelons
6505-01-358-6124 | Ketamine 500mg/10mL (surgical/procedural anaesthesia) | 6505 | All echelons
6505-01-359-9084 | Dextrose 50% IV (D50) 50mL syringe (hypoglycaemia) | 6505 | All echelons
6505-01-380-2328 | Epinephrine 1mg/mL auto-injector (Epi-Pen, anaphylaxis) | 6505 | All echelons
6505-01-394-9437 | Propofol 200mg/20mL (procedural/induction sedation) | 6505 | All echelons
6505-01-396-8177 | Amoxicillin-Clavulanate (Augmentin) 875/125mg tablets | 6505 | All echelons
6505-01-403-3100 | Hetastarch (Hextend) 500mL IV Colloid | 6505 | All echelons
6505-01-433-5195 | Ertapenem 1g vial (IV antibiotic — penetrating abdominal) | 6505 | All echelons
6505-01-450-1862 | Rocuronium 100mg/10mL (intermediate paralytic) | 6505 | All echelons
6505-01-461-9234 | Ondansetron (Zofran) 4mg ODT (anti-emetic) | 6505 | All echelons
6505-01-470-0743 | Moxifloxacin 400mg tablet (oral antibiotic, battlefield wound) | 6505 | All echelons
6505-01-595-5160 | 0.9% Sodium Chloride (Normal Saline) IV 1000mL | 6505 | All echelons
6505-01-595-5161 | Lactated Ringer's Solution IV 1000mL | 6505 | All echelons
6505-01-595-5162 | Normal Saline 100mL IV Minibag (TXA/medication diluent) | 6505 | All echelons
6505-01-606-7929 | Meloxicam 15mg tablet (NSAID — non-injectable analgesic) | 6505 | All echelons
6505-01-660-1890 | Tranexamic Acid (TXA) 1g/10mL vial | 6505 | All echelons
6510-00-201-0363 | Water-based lubricant jelly sachets (NPA lubrication) | 6510 | All echelons
6510-00-201-3022 | Abdominal Dressing (ABD Pad) 5"×9" sterile | 6510 | All echelons
6510-00-926-8883 | Adhesive Tape Surgical 2" × 10yd porous | 6510 | All echelons
6510-01-460-0849 | Elastic Bandage 4" (Ace wrap) | 6510 | All echelons
6510-01-492-2275 | Emergency Bandage (Israeli Bandage) 4" | 6510 | All echelons
6510-01-503-2117 | Emergency Bandage (Israeli Bandage) 6" | 6510 | All echelons
6510-01-503-2117 | Kerlix Gauze Roll 4.5" | 6510 | All echelons
6510-01-532-3643 | Compressed Gauze (NAR) 4.5"×4.1yd 6-ply cotton | 6510 | All echelons
6510-01-562-3325 | QuikClot Combat Gauze Z-Fold 3"×4yd (Kaolin) | 6510 | All echelons
6510-01-562-6470 | Betadine (Povidone-Iodine) Swabsticks / Solution | 6510 | All echelons
6510-01-562-6471 | Chlorhexidine Gluconate + Isopropyl Alcohol Applicator 3mL | 6510 | All echelons
6510-01-591-7740 | ChitoGauze 3"×144" Chitosan Z-fold | 6510 | All echelons
6510-01-600-4705 | QuikClot Combat Gauze XL 4"×4yd 2-ply (Kaolin, large wounds) | 6510 | All echelons
6510-01-623-9910 | Celox Gauze Z-fold 3"×5' | 6510 | All echelons
6510-01-644-7335 | X-STAT 30 Haemostatic Sponge Applicator (30mm, large) | 6510 | All echelons
6510-01-703-1966 | Triangular Bandage / Cravat Muslin 37"×37"×52" | 6510 | All echelons
6515-01-128-1407 | Group O Low-Titer Whole Blood Collection Set (450–500mL) | 6515 | All echelons
6515-01-128-1407 | Blood Recipient Set Y-Type (administration set) | 6515 | All echelons
6515-01-180-0467 | Nasopharyngeal Airway (NPA) 28Fr with lubricant | 6515 | All echelons
6515-01-336-5874 | IV Catheter 16g × 1.25" (faster fluid delivery) | 6515 | All echelons
6515-01-337-3681 | IV Catheter 18g × 1.25" (general IV access, IFAK) | 6515 | All echelons
6515-01-342-7421 | Suture Vicryl 2-0 (absorbable, wound closure) | 6515 | All echelons
6515-01-342-7422 | Suture Nylon 3-0 (non-absorbable, skin closure) | 6515 | All echelons
6515-01-342-7424 | Suture Prolene 4-0 (vascular/fine closure) | 6515 | All echelons
6515-01-352-0965 | Pulse Oximeter (SpO₂) — handheld clip-on field unit | 6515 | All echelons
6515-01-356-5763 | Syringe 5mL Luer-lock | 6515 | All echelons
6515-01-356-5764 | Saline Lock / PRN Adapter | 6515 | All echelons
6515-01-356-8510 | Syringe 60mL Luer-slip (irrigation/lavage) | 6515 | All echelons
6515-01-356-8511 | Syringe 10mL Luer-lock (no needle) | 6515 | All echelons
6515-01-449-0150 | SAM Splint / Malleable Aluminium Splint 18" | 6515 | All echelons
6515-01-450-2077 | IV Administration Set (60-drop, standard) | 6515 | All echelons
6515-01-450-2077 | IO Extension Set / Flush syringe | 6515 | All echelons
6515-01-468-6041 | ETCO₂ Colorimetric Detector (end-tidal CO₂, intubation confirm) | 6515 | All echelons
6515-01-489-3441 | Blood Warming Unit / Fluid Warmer (Thermal Angel or equiv) | 6515 | All echelons
6515-01-499-9644 | Scalpel Handle #3 + blades (10, 15, 22) | 6515 | All echelons
6515-01-501-4397 | Glucometer / Blood Glucose Test Kit (with strips) | 6515 | All echelons
6515-01-502-7636 | Trauma Shears / EMT Scissors 7.25" | 6515 | All echelons
6515-01-502-8218 | Bag-Valve Mask (BVM) Adult | 6515 | All echelons
6515-01-502-8321 | Kelly Haemostat (curved, 5.5") | 6515 | All echelons
6515-01-502-8345 | Cervical Collar Set (adjustable — Stifneck) | 6515 | All echelons
6515-01-502-9861 | Chest Tube 28Fr / 32Fr (thoracostomy drain) | 6515 | All echelons
6515-01-503-2901 | Urinary Catheter Foley 16Fr (urinary retention/monitoring) | 6515 | All echelons
6515-01-503-8341 | Stapler Skin Closure Disposable (35W, 3.5mm) | 6515 | All echelons
6515-01-517-5264 | IV Catheter 14g × 1.75" (rapid infusion / decompression) | 6515 | All echelons
6515-01-517-6244 | Hypodermic Needle 22g × 1" (deltoid IM injections) | 6515 | All echelons
6515-01-519-2325 | Nasopharyngeal Airway (NPA) — Multi-Size Kit (24Fr–36Fr) | 6515 | All echelons
6515-01-519-4244 | Hypodermic Needle 22g × 1.5" (thigh/gluteal IM) | 6515 | All echelons
6515-01-519-4566 | EldonCard Blood Typing Card (ABO/Rh field typing) | 6515 | All echelons
6515-01-519-9161 | Nitrile Exam Gloves (box 100) | 6515 | All echelons
6515-01-521-7976 | Combat Application Tourniquet (CAT) Gen 7 — Black | 6515 | All echelons
6515-01-532-0296 | Rigid Eye Shield (Fox shield) | 6515 | All echelons
6515-01-532-8019 | HyFin Vent Chest Seal (individual/single) | 6515 | All echelons
6515-01-536-9363 | IO Intraosseous Infusion System (haemorrhagic shock) | 6515 | All echelons
6515-01-537-9007 | EZ-IO Intraosseous Needle 25mm (Adult, >38kg) | 6515 | All echelons
6515-01-541-0635 | ARS Needle Decompression Kit 14g × 3.25" (chest decompression) | 6515 | All echelons
6515-01-554-3918 | HyFin Chest Seal Combo Pack (1 vented + 1 non-vented) | 6515 | All echelons
6515-01-559-7489 | EZ-IO Sternal Intraosseous Device (FAST-1 sternal) | 6515 | All echelons
6515-01-577-0312 | EZ-IO Intraosseous Needle 45mm (Long/Obese LD) | 6515 | All echelons
6515-01-580-1645 | Emergency Medical Tourniquet (EMT) — Pneumatic | 6515 | All echelons
6515-01-587-4651 | Large-Bore Needle Decompression 10g × 3.25" (obese/muscular) | 6515 | All echelons
6515-01-587-9943 | SOFTT-W (SOF Tactical Tourniquet Wide) | 6515 | All echelons
6515-01-589-9135 | Combat Ready Clamp (CRoC) | 6515 | All echelons
6515-01-600-3440 | Pelvic Binder (SAM Pelvic Sling II) | 6515 | All echelons
6515-01-612-7129 | Combat Application Tourniquet (CAT) Gen 7 — Orange (MCI/visible) | 6515 | All echelons
6515-01-616-5841 | JETT (Junctional Emergency Treatment Tool) | 6515 | All echelons
6515-01-618-7475 | SAM Junctional Tourniquet (SAM-JT) | 6515 | All echelons
6515-01-623-5963 | EZ-IO Intraosseous Needle 15mm (Paediatric 3–39kg) | 6515 | All echelons
6515-01-629-7044 | iTClamp Haemorrhage Control Clamp (sterile polycarbonate) | 6515 | All echelons
6515-01-636-9862 | HyFin Vent Compact Chest Seal Twin Pack | 6515 | All echelons
6515-01-638-9222 | AAJT-S (Abdominal Aortic & Junctional TQ Stabilizer) | 6515 | All echelons
6515-01-638-9223 | SAM Junctional Pressure Monitor (AAJT-S companion) | 6515 | All echelons
6515-01-640-6701 | Surgical Cricothyrotomy Kit — CricKey / Control-Cric | 6515 | All echelons
6515-01-667-6027 | TX2 Tourniquet — Ratchet, Coyote | 6515 | All echelons
6515-01-669-8680 | I-Gel Extraglottic Airway Size 4 (Medium Adult) | 6515 | All echelons
6515-01-669-8725 | I-Gel Extraglottic Airway Size 5 (Large Adult >90kg) | 6515 | All echelons
6515-01-670-2240 | SAM Extremity Tourniquet (SAM-XT) | 6515 | All echelons
6530-01-303-6218 | Litter Straps (securing casualty to litter) | 6530 | All echelons
6530-01-465-5706 | SKEDCO Flexible Litter (rolled, lightweight CASEVAC) | 6530 | All echelons
6530-01-465-5707 | NATO Rigid Litter (aluminium folding) | 6530 | All echelons
6532-01-451-4217 | Space/Mylar Blanket (emergency foil) | 6532 | All echelons
6532-01-484-8471 | Surgical Drape Set (sterile field) | 6532 | All echelons
6532-01-583-1861 | Hypothermia Prevention Kit — Blizzard Survival Blanket | 6532 | All echelons
6532-01-638-6229 | Thermal Casualty Bag (Ready-Heat II activated warming bag) | 6532 | All echelons
6545-00-914-3500 | Chest Med Instrument & Supply Kit No. 5 / Blood Chest Pack | 6545 | All echelons
6545-01-530-0929 | JFAK (Joint First Aid Kit) — complete | 6545 | All echelons
6545-01-571-4470 | CLS Resupply Kit (Combat Lifesaver) | 6545 | All echelons
6545-01-577-9830 | Triage Tag (METTAG or JTS Multi-Part Tag) | 6545 | All echelons
6545-01-586-7691 | IFAK Resupply Kit (Contents Kit) | 6545 | All echelons
6910-01-560-2972 | CAT Trainer Blue (training use only, not field-deployable) | 6910 | All echelons
7510-01-473-4484 | DD Form 1380 TCCC Casualty Card | 7510 | All echelons
7520-01-497-4534 | Permanent Marker Pen (black, waterproof — TQ time marking) | 7520 | All echelons
8415-01-521-8997 | Tyvek Disposable Coverall (hypothermia/CBRN) | 8415 | All echelons
8465-01-531-3647 | Combat Medic Aid Bag (M17 or M9 type) | 8465 | All echelons
BST-NFC-001 | NFC LED Triage Bands (P1–P4 colour-coded — Rapid-MCI) | BST | All echelons
DISCLAIMER: NSNs verified against CoTCCC Recommended Devices (Sep 2021), TC 8-800 (2021), TCCC CMC Equipment List #TCCC-CMC-27-01 (Jan 2022). Quantities are indicative/recommended and subject to METL, unit SOP, and mission-specific planning. Some NSNs may have superseding items — verify current NSN via DLA DIBBS, FED LOG, or FedMall before procurement. BST-prefixed NSNs are proprietary BST items. Pharmaceutical NSNs require Rx/authority per service regulations. This document is UNCLASSIFIED. ©Black Space Technology Ltd 2026.